## Slide 1
Surgical Technique
5.5 Knotless Anchor

## Slide 2: Loading the 5.5mm Knotless Anchor
5.5mm Knotless Anchor
STEP 1

## Slide 3: Loading the 5.5mm Knotless Anchor
5.5mm Knotless Anchor
STEP 2

## Slide 4: Loading the 5.5mm Knotless Anchor Inserter
5.5mm Knotless Anchor
STEP 3

## Slide 5: Loading the 5.5mm Knotless Anchor Inserter
5.5mm Knotless Anchor
STEP 4

## Slide 6: Place 5.5mm Knotless Anchor at Pre-tapped hole
5.5mm Knotless Anchor
STEP 5

## Slide 7: Gain Tension and Load Suture in Suture Ring
5.5mm Knotless Anchor
STEP 6

## Slide 8: Advance 5.5mm Anchor 1 Full Turn into hole while Maintaining Tension
5.5mm Knotless Anchor
STEP 7

## Slide 9: Release Tension on suture but keep in Suture Ring and advance 5.5mm Knotless Anchor until flush with bone
5.5mm Knotless Anchor
STEP 8

## Slide 10: Unload and Remove 5.5mm Knotless Inserter
5.5mm Knotless Anchor
STEP 9